{"text_format":"3","workbook":"xlsx","n_sheets":5,"sheets":["E.1 分部分项工程量清单与计价表【文化路西广场南侧停车场","F 措施项目清单与计价表【文化路西广场南侧停车场入口处改造","G 不可竞争项目清单与计价表【文化路西广场南侧停车场入口处","H.1 其他项目清单与计价汇总表【文化路西广场南侧停车场入","I 税金计价表【文化路西广场南侧停车场入口处改造工程】"],"read":"whole","date_system":"1900"}

{"sheet":"E.1 分部分项工程量清单与计价表【文化路西广场南侧停车场","index":0,"n_rows":54,"n_cols":13,"rows_kept":54,"merged":[[0,0,0,12],[1,0,1,12],[2,0,2,3],[2,4,2,9],[2,10,2,12],[3,0,5,0],[3,1,5,1],[3,2,5,2],[3,3,5,4],[3,5,5,5],[3,6,5,6],[3,7,3,12],[4,7,5,7],[4,8,5,8],[4,9,4,12],[5,9,5,10],[6,3,6,4],[6,9,6,10],[7,3,7,4],[7,9,7,10],[8,3,8,4],[8,9,8,10],[9,3,9,4],[9,9,9,10],[10,3,10,4],[10,9,10,10],[11,3,11,4],[11,9,11,10],[12,3,12,4],[12,9,12,10],[13,3,13,4],[13,9,13,10],[14,3,14,4],[14,9,14,10],[15,0,15,12],[16,0,16,12],[17,0,17,12],[18,0,18,3],[18,4,18,9],[18,10,18,12],[19,0,21,0],[19,1,21,1],[19,2,21,2],[19,3,21,4],[19,5,21,5],[19,6,21,6],[19,7,19,12],[20,7,21,7],[20,8,21,8],[20,9,20,12],[21,9,21,10],[22,3,22,4],[22,9,22,10],[23,3,23,4],[23,9,23,10],[24,3,24,4],[24,9,24,10],[25,3,25,4],[25,9,25,10],[26,3,26,4],[26,9,26,10],[27,3,27,4],[27,9,27,10],[28,3,28,4],[28,9,28,10],[29,3,29,4],[29,9,29,10],[30,3,30,4],[30,9,30,10],[31,3,31,4],[31,9,31,10],[32,3,32,4],[32,9,32,10],[33,3,33,4],[33,9,33,10],[34,3,34,4],[34,9,34,10],[35,0,35,12],[36,0,36,12],[37,0,37,12],[38,0,38,3],[38,4,38,9],[38,10,38,12],[39,0,41,0],[39,1,41,1],[39,2,41,2],[39,3,41,4],[39,5,41,5],[39,6,41,6],[39,7,39,12],[40,7,41,7],[40,8,41,8],[40,9,40,12],[41,9,41,10],[42,3,42,4],[42,9,42,10],[43,3,43,4],[43,9,43,10],[44,3,44,4],[44,9,44,10],[45,3,45,4],[45,9,45,10],[46,3,46,4],[46,9,46,10],[47,3,47,4],[47,9,47,10],[48,3,48,4],[48,9,48,10],[49,3,49,4],[49,9,49,10],[50,3,50,4],[50,9,50,10],[51,3,51,4],[51,9,51,10],[52,3,52,4],[52,9,52,10],[53,0,53,12]]}
[]
["分部分项工程量清单计价表"]
["工程名称：文化路西广场南侧停车场入口处改造工程",{"$nulls":3},"标段：文化路西广场南侧停车场入口处改造工程",{"$nulls":5},"第 1 页  共 3 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价","合价","其中"]
[{"$nulls":9},"定额人工费",null,"定额机械费","暂估价"]
[null,"一","拆除及移位"]
[1,"ZB0101001-01","高杆路灯移位","1.路灯杆采用吊机拆除灯具，拆除后成品保护\n2、路灯杆件移位安装",null,"套",1]
[2,"041001002001","拆除人行道","1、为顺接文化路与地下人防出入口，原有花岗岩人行道人工拆除，基层混凝土拆除\n2、土方开挖（另计）\n3、具体详见现场实际情况",null,"m2",22]
[3,"041001005001","拆除侧、平（缘）石","1、人工拆除花岗岩路侧石，顺接道路\n2、人工破除侧石垫层及护帮混凝土",null,"m",30]
[4,"011602001001","入口挡墙拆除","1、人工拆除车库入口钢筋混凝土挡墙\n2、挡墙上玻璃围栏拆除",null,"m",10]
[5,"050101007001","清除地被植物（含上木）","1、清理绿化带内上木、下木，装车运至指定地点\n2、乔灌木：合欢1株，樱花1株，丛生腊梅3株，紫薇2株，鸡爪械1株，女贞球4株\n3、地被植物：红叶石楠、海桐、金叶女贞52平米，百慕大草坪32平米，合计84m2",null,"项",1]
[6,"040205004001","标识牌拆除移位","1、人防标识牌、门架附着式指路标志板拆除移位",null,"项",1]
[7,"040205014001","路灯拆除","1、照明路灯拆除移位",null,"套",1]
[8,"WB011614004001","建筑垃圾外运","1、人行道拆除、基层拆除、侧石拆除等等产生的建筑垃圾外运",null,"m3",50]
["安徽省建设工程造价计价软件测评合格编号：2018-JS-12"]
[]
["分部分项工程量清单计价表"]
["工程名称：文化路西广场南侧停车场入口处改造工程",{"$nulls":3},"标段：文化路西广场南侧停车场入口处改造工程",{"$nulls":5},"第 2 页  共 3 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价","合价","其中"]
[{"$nulls":9},"定额人工费",null,"定额机械费","暂估价"]
[null,"二","新建项"]
[9,"040101003001","挖基坑土方","1、原绿化带处土方开挖\n2、挖土深度暂按1米计算",null,"m3",160]
[10,"040103002001","余方弃置","1、土方外运，运至指定地点\n2、运距按实计取",null,"m3",160]
[11,"040202001001","路床（槽）碾压检验","1、路床夯实处理",null,"m2",160]
[12,"040202011001","碎石","1、150mm厚碎石垫层\n2、人机配合施工，夯实",null,"m2",160]
[13,"040203007001","水泥混凝土","1、220mm厚C25商品混凝土",null,"m2",160]
[14,"WB040203013001","路面刻痕","1、路面刻痕",null,"m2",160]
[15,"WB040203014001","养生","1、混凝土路面养生布养护",null,"m2",160]
[16,"WB040203009001","模板","1、浇筑路面混凝土是支护钢模板",null,"m2",160]
[17,"040203003001","透层、粘层","1、乳化沥青透层，用油量1.0kg/m2",null,"m2",160]
[18,"040203006001","沥青混凝土","1、摊铺沥青\n2、AC-25C粗粒式沥青混凝土，厚度80mm",null,"m2",160]
[19,"040203003002","透层、粘层","粘层油",null,"m2",160]
[20,"040203006002","沥青混凝土","1、摊铺沥青\n2、AC-13C细粒式沥青混凝土，厚度50mm",null,"m2",160]
["安徽省建设工程造价计价软件测评合格编号：2018-JS-12"]
[]
["分部分项工程量清单计价表"]
["工程名称：文化路西广场南侧停车场入口处改造工程",{"$nulls":3},"标段：文化路西广场南侧停车场入口处改造工程",{"$nulls":5},"第 3 页  共 3 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价","合价","其中"]
[{"$nulls":9},"定额人工费",null,"定额机械费","暂估价"]
[21,"040504001001","砌筑检查井","1、尺寸：760mm×760mm×1000mm\n2、砌体材料：MU7.5水泥砂浆砌筑井，1：2水泥砂浆抹面\n3、盖板：高分子复合材料，井盖表面制有“路灯”字样\n4、含基础土方挖、弃、填等费用",null,"座",1]
[22,"010501003001","高杆路灯基础","1、尺寸：1200*1200*1600mm\n2、C35商品混凝土",null,"m3",2.3]
[23,"ZB0101001-03","地下水电线路改建","1.地下水电线路改建",null,"项",1]
[24,"040205007001","标记","1、名称：地面画字\n2、内容：“地下停车场入口”，字体大小依据现场综合\n3、材料：热熔漆",null,"个",7]
[25,"391008004001","零星修补","1、东广场石膏板和龙骨维修\n2、高度依据现场，综合拆除垃圾清运。",null,"m2",82]
[null,"三","其他项目"]
[26,"041106001001","大型机械设备进出场及安拆","1、大型机械设备进出场费",null,"项",1]
[27,"ZB0101001-02","施工围挡、标识牌、警示带、水马","1、施工时的安全防护警示设备：施工围挡、标识牌、警示带、水马按现场实际情况考虑\n2.含现场材料采保费，专人看护",null,"项",1]
[]
[]
[]
["安徽省建设工程造价计价软件测评合格编号：2018-JS-12"]

{"sheet":"F 措施项目清单与计价表【文化路西广场南侧停车场入口处改造","index":1,"n_rows":37,"n_cols":8,"rows_kept":37,"merged":[[0,0,0,4],[0,5,0,7],[1,0,1,7],[2,0,2,2],[2,3,2,4],[2,5,2,7],[3,2,3,3],[3,4,3,5],[4,2,4,3],[4,4,4,5],[5,2,5,3],[5,4,5,5],[6,2,6,3],[6,4,6,5],[7,2,7,3],[7,4,7,5],[8,2,8,3],[8,4,8,5],[9,2,9,3],[9,4,9,5],[10,2,10,3],[10,4,10,5],[11,2,11,3],[11,4,11,5],[12,2,12,3],[12,4,12,5],[13,2,13,3],[13,4,13,5],[14,2,14,3],[14,4,14,5],[15,2,15,3],[15,4,15,5],[16,2,16,3],[16,4,16,5],[17,2,17,3],[17,4,17,5],[18,2,18,3],[18,4,18,5],[19,2,19,3],[19,4,19,5],[20,2,20,3],[20,4,20,5],[21,2,21,3],[21,4,21,5],[22,2,22,3],[22,4,22,5],[23,2,23,3],[23,4,23,5],[24,2,24,3],[24,4,24,5],[25,2,25,3],[25,4,25,5],[26,2,26,3],[26,4,26,5],[27,2,27,3],[27,4,27,5],[28,2,28,3],[28,4,28,5],[29,2,29,3],[29,4,29,5],[30,2,30,3],[30,4,30,5],[31,2,31,3],[31,4,31,5],[32,2,32,3],[32,4,32,5],[33,2,33,3],[33,4,33,5],[34,2,34,3],[34,4,34,5],[35,0,35,6],[36,0,36,7]]}
[]
["措施项目清单与计价表"]
["工程名称：文化路西广场南侧停车场入口处改造工程",null,null,"标段：文化路西广场南侧停车场入口处改造工程",null,"第  1  页  共  1  页"]
["序号","项目编码","项目名称",null,"计算基础",null,"费率(%)","金额(元)"]
[1,"SC-01","夜间施工增加费",{"$nulls":3},0.5]
[2,"SC-02","二次搬运费",{"$nulls":3},1.2]
[3,"SC-03","冬雨季施工增加费",{"$nulls":3},0.8]
[4,"SC-04","已完工程及设备保护费",{"$nulls":3},0.1]
[5,"SC-05","工程定位复测费",{"$nulls":3},0.9]
[6,"SC-06","临时保护设施费",{"$nulls":3},0.1]
[7,"SC-07","行车、行人干扰增加费",{"$nulls":3},0.2]
[8,"SC-08","赶工措施费",{"$nulls":3},1.8]
{"$rows_empty":23}
["合    计"]
["安徽省建设工程造价计价软件测评合格编号：2018-JS-12"]

{"sheet":"G 不可竞争项目清单与计价表【文化路西广场南侧停车场入口处","index":2,"n_rows":29,"n_cols":8,"rows_kept":29,"merged":[[0,0,0,4],[0,5,0,7],[1,0,1,7],[2,0,2,1],[2,2,2,4],[2,5,2,7],[3,1,3,2],[3,4,3,5],[4,1,4,2],[4,4,4,5],[5,1,5,2],[5,4,5,5],[6,1,6,2],[6,4,6,5],[7,1,7,2],[7,4,7,5],[8,1,8,2],[8,4,8,5],[9,1,9,2],[9,4,9,5],[10,1,10,2],[10,4,10,5],[11,1,11,2],[11,4,11,5],[12,1,12,2],[12,4,12,5],[13,1,13,2],[13,4,13,5],[14,1,14,2],[14,4,14,5],[15,1,15,2],[15,4,15,5],[16,1,16,2],[16,4,16,5],[17,1,17,2],[17,4,17,5],[18,1,18,2],[18,4,18,5],[19,1,19,2],[19,4,19,5],[20,1,20,2],[20,4,20,5],[21,1,21,2],[21,4,21,5],[22,1,22,2],[22,4,22,5],[23,1,23,2],[23,4,23,5],[24,1,24,2],[24,4,24,5],[25,1,25,2],[25,4,25,5],[26,1,26,2],[26,4,26,5],[27,0,27,3],[27,4,27,5],[28,0,28,7]]}
[]
["不可竞争项目清单与计价表"]
["工程名称：文化路西广场南侧停车场入口处改造工程",null,"标段：文化路西广场南侧停车场入口处改造工程",null,null,"第 1 页  共 1 页"]
["序号","项目编码",null,"项目名称","计算基础",null,"费率(%)","金额（元）"]
[1,"SF-01",null,"    环境保护费",null,null,"3.57"]
[2,"SF-02",null,"    文明施工费",null,null,"7.33"]
[3,"SF-03",null,"    安全施工费",null,null,"5.28"]
[4,"SF-04",null,"    临时设施费",null,null,"7.99"]
{"$rows_empty":19}
["合计"]
["安徽省建设工程造价计价软件测评合格编号：2018-JS-12"]

{"sheet":"H.1 其他项目清单与计价汇总表【文化路西广场南侧停车场入","index":3,"n_rows":31,"n_cols":5,"rows_kept":31,"merged":[[0,0,0,2],[0,3,0,4],[1,0,1,4],[2,0,2,1],[2,3,2,4],[3,1,3,3],[4,1,4,3],[5,1,5,3],[6,1,6,3],[7,1,7,3],[8,1,8,3],[9,1,9,3],[10,1,10,3],[11,1,11,3],[12,1,12,3],[13,1,13,3],[14,1,14,3],[15,1,15,3],[16,1,16,3],[17,1,17,3],[18,1,18,3],[19,1,19,3],[20,1,20,3],[21,1,21,3],[22,1,22,3],[23,1,23,3],[24,1,24,3],[25,1,25,3],[26,1,26,3],[27,1,27,3],[28,1,28,3],[29,0,29,3],[30,0,30,4]]}
[]
["其他项目清单与计价汇总表"]
["工程名称：文化路西广场南侧停车场入口处改造工程",null,"标段：文化路西广场南侧停车场入口处改造工程","第  1  页  共  1  页"]
["序号","项目名称",null,null,"金额（元）"]
["1","暂列金额"]
["2","专业工程暂估价"]
["3","计日工"]
["4","总承包服务费"]
{"$rows_empty":21}
["合    计"]
["安徽省建设工程造价计价软件测评合格编号：2018-JS-12"]

{"sheet":"I 税金计价表【文化路西广场南侧停车场入口处改造工程】","index":4,"n_rows":28,"n_cols":8,"rows_kept":28,"merged":[[0,0,0,5],[0,6,0,7],[1,0,1,7],[2,0,2,2],[2,3,2,5],[2,6,2,7],[3,2,3,3],[3,5,3,6],[4,2,4,3],[4,5,4,6],[5,2,5,3],[5,5,5,6],[6,2,6,3],[6,5,6,6],[7,2,7,3],[7,5,7,6],[8,2,8,3],[8,5,8,6],[9,2,9,3],[9,5,9,6],[10,2,10,3],[10,5,10,6],[11,2,11,3],[11,5,11,6],[12,2,12,3],[12,5,12,6],[13,2,13,3],[13,5,13,6],[14,2,14,3],[14,5,14,6],[15,2,15,3],[15,5,15,6],[16,2,16,3],[16,5,16,6],[17,2,17,3],[17,5,17,6],[18,2,18,3],[18,5,18,6],[19,2,19,3],[19,5,19,6],[20,2,20,3],[20,5,20,6],[21,2,21,3],[21,5,21,6],[22,2,22,3],[22,5,22,6],[23,2,23,3],[23,5,23,6],[24,2,24,3],[24,5,24,6],[25,2,25,3],[25,5,25,6],[26,0,26,4],[26,5,26,6],[27,0,27,7]]}
[]
["税金计价表"]
["工程名称：文化路西广场南侧停车场入口处改造工程",null,null,"标段：文化路西广场南侧停车场入口处改造工程",null,null,"第 1 页  共 1 页"]
["序号","项目名称","计算基础",null,"计算基数","费率(%)",null,"金额（元）"]
[1,"增值税",{"$nulls":3},9]
{"$rows_empty":21}
["合计"]
["安徽省建设工程造价计价软件测评合格编号：2018-JS-12"]